## Sizing
CoolIn rough sizing
Same arithmetic as the calculator on cool-in.co.uk. Rough only, the survey decides.
ONE ROOM |  | change the middle column
Width m | 3.6
Length m | 4.2
Ceiling | Standard | Standard / High / Vaulted
Glazing | Average | Average / Shaded / Sunny / Bifolds
Roof room | n | y or n
People | 2
Room use | Bedroom | Bedroom / Kitchen / Office / Gym / Server
Load kW
FIT THIS UNIT |  | kW
Guide price |  | installed, one room
WHOLE HOUSE
Room | Width m | Length m | Ceiling | Glazing | Roof room | People | Room use | Area m2 | Load kW | Unit kW | Guide GBP
Main bedroom | 3.6 | 4.2 | Standard | Average | n | 2 | Bedroom
Lounge | 4.2 | 5.4 | High | Sunny | n | 4 | Bedroom
Loft office | 3 | 3.8 | Vaulted | Average | y | 1 | Office
[7 empty] | Total load |  | kW
Careful with the money column
Guide prices are one wall unit installed in one room.
Do not add them up for a house. Several rooms on one condenser is a multi split,
which starts at 3450 and is priced after a survey.
Total load is the figure that matters there, for sizing the condenser.